LINE GLAS 300

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS 300" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. Stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS 450

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS 450" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. Stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS 550

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS 550" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. Stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS 650

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS 650" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. Stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS 750

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS 750" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. Stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS 850

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS 850" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. Stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS GOLD 300

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS GOLD 300" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. 24k gold plated stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS GOLD 450

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS GOLD 450" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. 24k gold plated stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS GOLD 550

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS GOLD 550" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. 24k gold plated stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS GOLD 650

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS GOLD 650" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. 24k gold plated stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS GOLD 750

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS GOLD 750" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. 24k gold plated stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.

LINE GLAS GOLD 850

Procurement, transport and installation of floor grates and drains CONFLUO STANDARD intended for linear drainage inside the building.

CONFLUO PREMIUM drain "LINE GLAS GOLD 850" made from polipropilen with ABS made grid holder, with no side inlets and one horizontal  DN 50mm output, minimum installation height of 52mm and flow rate of 48 l/min.

Base of drain without socket with water sealing  height of 25 mm, with height adjustable reducer for linear drain and feet for height and inclination adjustment and with hair stopper. 24k gold plated stainless steel mask and grate made of white or black tempered glass, class K3 (up to 300 kg of load), dimensions 278x54 mm.

Floor grates and drains should be "PEŠTAN" Aranđelovac type or equivalent quality. Installation of drains is done by achieving watertight connection with waterproofing layer of the floor, all in accordance with the relevant European and national standards, and according to the manufacturer's instructions.